**COMPARATIVE EFFICACY OF DIFFERENT MASTITIS MARKERS FOR DIAGNOSIS OF SUB-CLINICAL MASTITIS IN COWS**

**ABSTRACT**

Seven hundred ninety six milk samples from 266 quarters of 69 lactating cows were subjected to microbiological investigations for identification of pathogens. One hundred ninety bacterial isolates were recovered from 89 infected quarters, among these monomicrobial infection was found in 50 (56.2%) quarters, whereas, mixed infection was observed in 39 (43.8%) quarters. Bacterial isolates identified were Staph. chromogenes (49.47%), Staph. hyicus (21.1%), Staph. epidermidis (11.05%), Str. agalactiae (5.8%), Staph. aureus (4.2%), Staph. intermedius (3.1%), Enterobacter sp. (1.5%), Klebsiella sp., E. coli (1.05%), Micrococcus sp. (1.05%) and Serratia marcescens (0.52%). Milk samples from every quarter of each cow were also subjected to 6 mastitis marker tests named Somatic cell count (SCC), California mastitis test (CMT), electrical conductivity (EC) by EC-meter as well as by Hand-held mastitis detector, pH detection by impregnated paper strip and also by pH meter. Efficacy of mastitis markers for diagnosis of sub-clinical mastitis was determined by comparing results of mastitis marker tests with microbiological findings. Mean value of SSC in milk from healthy quarters was significantly lower (pthan that in milk from infected quarters. Significantly higher (pvalue of SSC was observed in milk samples having coagulase positive staphylococci as compared to that in milk from quarter with coagulase negative pathogens. The mean electrical conductivity (EC) in milk samples from infected quarters was significantly higher (P<0.05) than that from healthy quarters. Numbers and percentages of samples showing true positive, true negative, false positive and false negative results with SSC, CMT, EC by EC-meter, EC by hand-held meter, pH by impregnated strips, pH by digital pH-meter tests were evaluated and compared. The sensitivity and specificity of impregnated pH paper strip, CMT, pH-meter test, SCC, electrical conductivity by EC-meter and the same by Hand-held mastitis detector were evaluated The compatibility between the results of SCC, impregnated pH paper strip, CMT, EC-meter, pH-meter, Hand-held mastitis detector and bacteriological culture examination (reference test) was found to be 64.4, 63.4, 61.5, 59, 59 and 53 respectively.

**Key words:** Subclinical mastitis, bacteriological culture examination, somatic cell count, California mastitis test, electrical conductivity and pH strip test.

**Introduction**

Sub clinical mastitis is a major cause of economic loss in dairy herds that shows no gross inflammatory changes in udder, hence remains unnoticed unless investigated by employing laboratory tests. There are several direct and indirect tests with varying efficacies for detection of subclinical mastitis viz. culture, isolation and identification of causal agents, somatic cell count, California mastitis test, modified white side test (WST), bromothymol blue card test, electrical conductivity of milk, Cl- estimation in milk, Modified Aulendorfer Mastitis Probe (MAMP) test, N-Acetyl-β-D-Glucosaminidase (NAGase) enzyme activity and ELISA etc., among these tests, bacterial culture from the milk has been considered as standard method for confirming subclinical udder infections in dairy cows (IDF, 1991 and Sudhan and Sharma, 2010). Somatic cell count (SCC) is a useful predictor of subclinical udder infection therefore it is considered as an important component for assessing the quality and milk hygiene for mastitis controlprotocols(Sharma et al., 2011). The sub clinical mastitis (SCM) shows no gross inflammatory changes hence can be detected only by laboratory investigations. California mastitis test (CMT) is a simple, inexpensive, rapid andhighly sensitive test that accurately predicts the inflammatory cell counts in milk from individual quarters or pooled milk samples (Madut et al., 2009).Electrical conductivity (EC) and pH of milk have been used as indicators of mastitis since last two decades. Present study was instituted for comparing the sensitivity, specificity, and accuracy of several mastitis markers named SSC, EC by EC-meter as well as by hand-held mastitis detector, CMT and pH by impregnated strip as well as by pH meter. Efficacy of these tests was evaluated by comparing the results with reference test conducted by microbial culture, isolation and identification in milk samples from individual quarter of lactating indigenous (Kankrej and Gir) and crossbred (Kankrej x Jersy x HF) cows from an organized herd.

**Materials and Methods**

Present study was conducted on 796 milk samples (40 ml each) collected for 3 days from 266 healthy quarters of 69 lactating cows (26 Kankrej, 8 Gir and 35 triple crosses of Kankrej x Jersey x HF) maintained under identical management conditions at Livestock Research Station (LRS) of university. Each sample was marked with cow’s identification number and teat from which sample was collected i.e. fore-left (FL), fore-right (FR), rear-left (RL) or rear-right (RR) teat. Milk samples were immediately transported to laboratory over ice pack where these were kept at room temperature for 15-20 minutes before investigations. Mammary infections were investigated by subjecting individual milk samples for microbial culture, isolation and identification of microbes. Other tests employed on each milk samples were SCC, CMT, EC and pH detection tests.

**Diagnostic Tests / Mastitis Markers**

1. Bacteriological Culture Examination

Milk samples from each quarter were inoculated and incubated (370C/24 hours) for microbial culture on blood agar (containing 5% sheep blood) as well as in MacConkey agar, thereafter examined for growth and morphological characteristics of bacterial colonies. Identical colonies were further isolated, inoculated and incubated (37°C/24-48 hours) on nutrient/glucose agar, thereafter identification and characterization of bacteria was performed as per the method described by Cowan and Steel (1970).

1. Somatic Cell Count (SCC)

SCC was estimated with FossomaticTM Minor cell counter (Foss Electric, Hillerod, Denmark) as per technique described by Gonzalo et al. (2003).

**Identification of infected quarters**

Results of SCC were correlated with those of microbiological investigations. Infected quarters were identified as per following guidelines of IDF.

|  |  |  |
| --- | --- | --- |
| Quarter health status | Culturing of milk samples | SCC of milk samples (Cells/ml) |
| Healthy | 2 times negative | All 3 times < 5 lakh |
| Latent infection | 2 times positive | All 3 times < 5 lakh |
| Non-specific mastitis | 2 times negative | Minimum 1 time > 5 lakh |
| Specific mastitis | 2 times positive | Minimum 1 time > 5 lakh |

1. California Mastitis Test (CMT)

The CMT was performed as per the method described by Schalm and Noorlander (1957).

1. Measurement of pH in Milk

The pH of each milk sample was estimated by Digital pH-meter (Khodke et al., 2009) as well as by impregnated pH-strips (Davis, 1999).

1. Electrical Conductivity (EC) Test

Electrical conductivity of milk samples was detected by Hand held mastitis detector (DraminskiTM) as well as by EC-meter (Janzekovic et al., 2009). Milk samples with EC ≥ 300 were considered to be from healthy and uninfected quarters, whereas, those with EC ≤ 250 were considered to be from SCM suspected quarters. ([www.draminski.com](http://www.draminski.com)).

**Results and Discussion**

Microbiological investigations on milk samples revealed that out of 266 quarters, 89 were sub-clinically infected wherein 190 isolates were recovered; Among these infected quarters, mono-microbial infection was observed in 50 (56.1%), whereas mixed infection was found in 39 (43.8%) quarters. Numbers and percentage of cows showing sub-clinical infection in one, two, three and all four quarters were 15 (32.6%): 22 (47.8%): 6 (13%) and 3 (6.5%) respectively. These findings are in close approximation to those reported by Patel (2001). Higher numbers of cows having infection in one quarter have also been reported by Dhote et al. (1999) and Patil et al. (2000).

Somatic Cell Counts (SCC) in 796 milk samples from 266 quarters revealed true positive, true negative, false positive and false negative cases of SCM in 144 (18%), 369 (46.3%), 66 (8.2%) and 217 (27.2%) samples respectively. Contrary to our results, Lather et. al.,(2010) reported almost double numbers of milk samples showing true positive results by SCC. Infection and inflammation of mammary tissue evokes infiltration of polymorphonuclear cells (PMNs) at the site of infection (Schalm et al., 1971). Leucocytes are normally present in milk, damage/inflammation of mammary tissue incites release of chemotactic agents or chemical messengers from the leukocytes or damaged tissue. These chemical messengers/chemotactic agents are responsible for presence of large number of PMNs into the milk (Nickerson and Pankey, 1984). These PMNs act to engulf and digest the invading bacteria as self defense mechanism of udder (Harmon, 1994).

Mean SCC in milk from healthy (155.59 x 103 cells/ml)and latent quarters (243.36 x 103 cells/ml) was significantly (P<0.01) lower than that in milk from quarters having non-specific (978.18 x 103 cells/ml) and specific infection (1949.48 x 103 cells/ml). These findings are in accordance with those reported by Leitner et al. (2003) and Verma (2008).

Mean SCC in milk from quarters infected with coagulase positive staphylococci (Staph. aureus, Staph. hyicus and Staph. intermedius) was significantly (P<0.05) higher (1239.04x 103/ml) than that (689.27 x 103/ml) in milk samples from quarters infected with coagulase negative staphylococci (Staph. chromogenes and Staph. epidermidis). Our findings are in close approximation to those of Patel (2001) who reported significantly higher (16.29 x 105/ml) mean SCC in quarters infected with coagulase positive pathogens as compared to that (10.78 x 105/ml) in udder infected with coagulase negative pathogens. Vianna et al. (2005) reported 10.94×105/ml somatic cells in milk from quarters infected with coagulase negative pathogen.

Results of CMT revealed that out of 796 milk samples, the number of samples showing true positive, true negative, false positive and false negative were 217 (27.2%), 273 (34.2%), 162 (20.3%) and 144 (18.0%) respectively. Dubal et al. (2010) and Saluja et al. (2004) also diagnosed subclinical infections in 24.6 and 27.5% samples by employing CMT, whereas, Sharma et al. (2010) reported higher rate of SCM diagnosis (32 to 92%) with CMT test.

Electrical Conductivity (EC) tests with EC-meter revealed true positive, true negative, false positive and false negative cases of SCM in 90 (11.3%), 380 (47.7%), 56 (7.0%) and 270 (33.9%) samples respectively. Mean vale of EC in milk samples from infected quarters (4.96 ± 0.07 mS/cm) was significantly higher (P<0.05) than that (4.26 ± 0.03 mS/cm) in milk samples from healthy quarters. Chahar (2007) and Jain et al. (2009) have reported higher percentages of true positive cases (38 and 22.5% respectively) detected by EC.

Number and percentages of milk samples showing true positive, true negative, false positive and false negative detection of SCM by EC test using hand-held EC-meter (Dramiński 4QMast) were 61 (7.6%), 364 (45.7%), 55 (6.9%) and 316 (39.6%) respectively. Janzekovic et al. (2009) observed higher values of EC (>6.5 mS/cm) in 80% quarters with increased count of somatic cells. Muhamed et al. (2011) reported 65.2% true positive cases of SCM with electronic EC detector. In our study, detection of SCM EC test using hand-held EC-meter was very low (7.6%). High electrical conductivity in infected quarter is attributed to opening up of the alveolar junction and increased permeability of capillaries due to infection that in turn results into high Na+,K+ and Cl- ions in extracellular fluid poured into lumen of alveolus thereby increased levels of these ions in the milk of infected gland. Electrical conductivity of milk thus depicts its ionic contents (Linzell and Peaker, 1975).

Results of pH detection (paper strip method) revealed true positive, true negative, false positive and false negative cases of SCM in 224 (28.1%), 155 (19.4%), 136 (17.0%) and 218 (27.3%) samples respectively. Estimation of pH in milk samples by digital pH meter revealed true positive, true negative, false positive and false negative cases of SCM in 220 (27.6%), 250 (31.4%), 159 (19.9%) and 167 (20.9%) samples respectively. Tiwari and Sisodia (2000) also detected 23.1% milk samples positive for SCM by employing impregnated pH paper strip. However, Kumari and Gupta (2002) reported 71 (87.65%) quarters positive for SCM using BTB card test.

Increased pH of milk from SCM quarter has also been reported by Sood et al. (2008) and Hussain et al. (2011). Increased alkalinity/pH in milk from SCMsases has been attributed to permeability of the blood capillaries due to inflammation of mammary gland that causes entry of alkaline blood constituents (Na+ and bicarbonate ions) into the milk. (Muhamed et al., 2011).

**Sensitivity and Specificity of SCC, CMT, EC** and **pH Tests**

The sensitivity of SCC as a mastitis marker was observed to be 39.8%. This was much lower than that (56-100%) reported by [Muhammad](http://www.springerlink.com/content/?Author=Ghulam+Muhammad) et al., 2009 and Sharma et al., 2010. The specificity of SCC observed in present study (84.8%) is in close approximation to that reported by Jain et al. (2009) and Choudhari (2000) who documented the same as 79.6 and 84.4% respectively, however, Sharma et al. (2010) recorded 97.76%.

Sensitivity of CMT observed in present study (60.1%) is comparable with that reported by Chahar (2007). However, it was much lower than that (71-86%) observed by [Muhammad](http://www.springerlink.com/content/?Author=Ghulam+Muhammad) et al. (2009) and Sharma et al. (2010). The specificity of CMT in present stud was 62.7% that concurs with the observations of Sharma et al. (2010).

In present study, sensitivity of EC-meter (25%) was much lower than that (56%) reported by Chahar (2007). The specificity of EC-meter in present study (87.1%) was in agreement with the observation of Choudhari (2000).

The sensitivity of Hand-held EC-meter (12.7%) was much lower than that (51%) reported by Mansell and Seguya (2003). The specificity of Hand-held EC-meter (89.0%) was much higher than that (71%) reported by Mansell and Seguya (2003).

The sensitivity of impregnated pH paper (62.2%) was comparable with that reported by Chahar (2007), however it was lower than that (69.3 and 71.29) reported by Tiwari and Sisodia (2000) and Verma (2008). The specificity of pH strip test in present study (64.4%) was much lower than that (85.8 to 94.2 %) reported by Ghose et al. (2004) and Verma (2008).

The sensitivity of digital pH meter in detecting SCM was found to be 56.84 %. However the specificity of pH measured by pH digital meter was a bit higher at 61.1 per cent.

**Compatibility between reference test and various mastitis markers**

In the present investigation, bacteriological culture examination was considered as the reference test and the compatibility of different 6 mastitis markers was calculated by comparing their results with that of the reference test. The analysis of results obtained in the present study revealed that SCC, as a mastitis marker, showed 64.4% compatibility with the results of bacteriological culture examination, which was close to the findings of Patel (2001). Higher compatibility between the results of SCC and bacteriological culture examination as reported by earlier workers has been 75.4% (Nauriyal, 1996) and 85.5 % (Pachauri et al., 2001). The results of CMT revealed 61.5% agreement with the results of culture examination. Higher compatibility between the results of CMT and the reference test has been reported by earlier workers at 72.0% (Patel, 2001), 78.4% (Nauriyal, 1996) and 88.8% (Pachauri et al., 2001). CMT is an indirect estimation of SCC and therefore in the present study the agreement between the results of reference test and SCC as well as CMT was pretty close at 64.44 and 61.55 % respectively. This justifies the results obtained in our study. The compatibility between the results of EC, as determined by EC-meter and Hand-held mastitis detector, to detect qms with SCM, and the reference test was noted at 59.0 and 53%, respectively. The agreement between the results of impregnated pH paper test and digital pH meter with bacteriological examination for detection of SCM was observed to be 63.4 and 59.0%, respectively. Earlier, Pachauri et al. (2001) and Verma (2008) reported the compatibility of pH paper strip with reference test to be 84.4 and 90.7%, respectively, which was much higher than the present findings. There was no published report which could be traced on the agreement between the results of digital pH meter and EC-meter and /or Hand-held mastitis detector with the reference test.

**References**

Chahar A(2007).Studies on comparative evaluation of various screening tests for detection of subclinical mastitis in cows. Intas polivet. **8** (1):208-211.

Choudhari PC (2000). Status paper on mastitis in Andhra Pradesh. In: Proc. Round Table Conference on Mastitis. 5th Annual Conference of IAAVR. Feb. 18-19. held at IVRI, Izatnagar, India. p. 11-25.

Cowan ST and Steel KJ (1970). Manual for the identification of medical bacteria. The syndics of the Cambridge University Press. Bentley House, 200 Euston Road, London, U.K.

Davis JG(1999). The laboratory control of milk. Agro-botanical Publishers, Bikaner, India.

Dhote SW, Kurkure NV, Kalorey DR and Ganvir PT (1999). Etiology and sensitivity of bacterial isolates from subclinical mastitis in cows from east Vidharbha. Ind. Vet. J. **76**: 251-252.

Dubal ZB, Rahman H, Pal P, Kumar A and Pradhan K(2010). Characterization and antimicrobial sensitivity of the pathogens isolated from bovine mastitis with special reference to Escherichia coli and Staphylococcus spp. Ind. J. Anim. Sci. **80** (12): 1163-1167.

Ghose B, Sharda R and Joshi S (2004). California Mastitis vis-à-vis Mastrips for diagnosis of subclinical mastitis in cows. Ind. Vet. Med. J. **28** (12): 328-333.

Gonzalo C, Martínez JR, Carriedo JA and San Primitivo F(2003).Fossomatic cell-counting on ewe milk: comparison with direct microscopy and study of variation factors. J. Dairy Sci. **86**:138-145.

Harmon RJ (1994).Physiology of mastitis and factors affecting somatic cell counts. J. Dairy Sci. **77**:2103-2113.

Hussain V, Javed MT and Khan A (2011). Changes in some biochemical parameters and somatic cell counts in the milk of buffalo and cattle suffering from mastitis**.** Pak. Vet. J. **20** (10):30.

International Dairy Federation(1991).Mastitis Control. Bull. Intl. Dairy Fed. **262**: p. 15-31.

Janzekovic M, Brus M, Mursec B, Vinis P and Cus F (2009).Mastitis detection based on electrical conductivity of milk. J. Achievements Materials Manufact. Eng. **34** (1):39-46.

Khodke MV, Bonde SW and Ambade RB(2009). Alteration of enzyme aspartate transaminase in goat milk related to udder health status. Vet. World. **2**(1)**:** 24-26.

Kumari PM and Gupta BJR(2002).Diagnosis and therapy of subclinical mastitis in post-parturient cows**.** Ind. Vet. J., **79 (**1): 89.

Lather D, Kumari S and Saxena V (2010). Prevalence of subclinical mastitis in an organized cow herd. Haryana Vet. **49**:64-65.

Leitner G, Eligulashvily R, Krifucks O, Perl S and Saran A(2003)**.** Immune cell differentiation in mammary gland tissues and milk of cows chronically infected with Staphylococcus aureus. J. Vet. Med. **50**: 45–52.

Linzell LL and Peaker M (1975).Efficacy of the measurement of the electrical conductivity of milk for the detection of subclinical mastitis in cows: in detection of infected cows at a single visit. British Vet. J. **131**: 447.

Madut NA, Gadir AE and Jalii AIM(2009).Host determinants of bovine mastitis in semi-intensive production system of Khartoum state, Sudan.J. Cell and Anim. Biol. **3** (5): 71-77.

Mansell PD and Seguya A(2003).The use of hand-held “mastitis detectors” in the diagnosis of subclinical mastitis. Victoria, Australia. p. 1-7.

Muhamed M.H, Doss A, Dhanabalan R and Venkataswamy R (2011). In-vitro antimicrobial effects of some selected plants against bovine mastitis pathogens. Hygeia. J. Dairy Med. **3** (1): 71-75.

[Muhammad](http://www.springerlink.com/content/?Author=Ghulam+Muhammad) G, [Naureen](http://www.springerlink.com/content/?Author=Abeera+Naureen) A, [Muhammad NA](http://www.springerlink.com/content/?Author=Muhammad+Nadeem+Asi), [Saqib](http://www.springerlink.com/content/?Author=Muhammad+Saqib) M and [Fazal R](http://www.springerlink.com/content/?Author=Fazal-ur-Rehman) (2009). Evaluation of a 3% surf solution (surf field mastitis test) for the diagnosis of subclinical bovine and bubaline mastitis. Trop. Anim. Health Prod. [**42** (3](http://www.springerlink.com/content/0049-4747/42/3/)): 457-464.

Nauriyal DS(1996).Profile studies in bovine mastitis with special reference to therapeutic consideration of vitamin E and selenium. Ph.D. Thesis. G.B. Pant University of Agriculture and Technology, Pantnagar. p. 258.

Nickerson SC and Pankey JW (1984). Neutrophil migration through teat and tissues of bovine mammary quarters experimentally challenged with Staphylococcus aureus. J. Dairy Sci. **67**: 826-834.

Pachauri SP, Singh SV and Nauriyal DS(2001).Status of mastitis in Taria Region. Ind. Vet. Med. J. **25**:317-321.

Patel MD(2001).Studies on subclinical intramammary infections in bovine with special reference to somatic cell count (SCC) as a mastitis marker. M.V.Sc.Thesis. G.A.U. Anand. p. 159.

Patil AA, Pathak MA, Nighot NK, Kalorey DR and Kurkure NV (2000). Prevalence of subclinical mastitis and its impact on economy of livestock sector. In: Proc. Round Table Conference on Mastitis.VI annual conference of IAAVR. Feb. 18-19, held at IVRI, Izatnagar, India. p. 11-25.

Saluja PS, Gupta SL, Kapur MP and Sharma A (2004). Prevalence of bovine mastitis in an organised dairy herd. Ind. Vet. J. **81** (12): 1404-1405.

Schalm OW and Noorlander DO(1957).Experiments and observations leading to the development of the California mastitis test.J. Am. Vet. Med. Assoc. **130**:199-204.

Sharma N, Pandey V and Sudan NA(2010). Comparison of some indirect screening tests for detection of subclinical mastitis in dairy cows. Bulgarian J. Vet. Med. **13** (2):98-103.

Sharma N, Singh NK and Bhadwall MS (2011). Relationship of somatic cell count and mastitis: an overview. Asian**-**Aust. J. Anim. Sci. **24** (3): 429-438.

Sood R, Pachauri SP and Nauriyal DS (2008). Evaluation of markers of subclinical mastitis for its early detection in dairy animals.Ind. J. Vet. Med. **28** (1): 17-19.

Sudhan NA and Sharma N(2010). Mastitis- an important production disease of dairy animals. SMVS‘ Dairy Year Book. p. 72-88.

Tiwari A and Sisodia RS (2000). Diagnosis of subclinical mastitis in cows with mastitis detection strips. Ind. J. Vet. Med. **20** (2):80.

Verma AK(2008).Clinico-diagnostic and therapeutic studies on subclinical intramammary infection (IMI) of bovine with special reference to genetic susceptibility to IMI. M.V.Sc Thesis, Anand Agricultural University, Anand. p. 122.

World Wide Web. [draminski.com](http://www.draminski.com)